How to use DS-K1T201A to connect to

DS-K1109 card reader

Preparation

| Type | Model | Version |
| --- | --- | --- |
| Software | IVMS-4200 or HCP or HCAC |  |
| Access Control Terminal | DS-K1T201AMF |  |
| Card reader | DS-K1109DKFB |  |

How to use DS-K1T201A to connect to DS-K1109 card reader

Introduction: This article will introduce how to use DS-K1T201A to connect to DS-K1109 card reader.

- Wiring

- Use RS-485 cable of K1T201A terminal connect to K1109 card reader.

- Configuration

- Add K1T201A to platform.

- Enter the device remote configuration page, check the connection mode of RS-485.

- Configure dip switch of card reader, make sure the dip switch is 0100 0000.

- And then restart the card reader, you can check the exit card reader is online on the door of K1T201A.

- Test

- You can check the swipe card records on Event Center, test result as shown below.

Note:

- Check the K1T201A version, make sure use the latest firmware.

- Check card reader DS-K1109DKFB version, make sure use the latest firmware.